Report EEG

Thomas Monninger

# Pipeline Architecture

Central element of the project

## Project file

Files: project.py

This file is the starting point for each execution of the pipeline. It defines the sequence of the pipeline and executes the steps in the defined order. A major performance gain is given by parallelization: Calling project.py without specifying a subject will spawn an individual subprocess for each subject and execute the pipeline for all subjects in parallel. Analysis steps require the availability of the results of all subjects, so the logic waits for the subprocess to finish and then calls the analysis steps.

## Configuration file

Files: config.yaml

The config file separates all configuration parameters. Hence, it is not required to read through the source code. Instead, all relevant parameters can be set centralized in this configuration file.

The configuration file has two sections, one for global settings and one for step-specific settings. Each processing step must have a dict entry in this config file that holds all parameters required to run the specific step.

## Fname

Files: fnames.py, config.py

## Base class template

Files: base.py

This base class is the core of the pipeline. All processing steps inherit from this class. The class loads the settings from config.yaml. Furthermore, it handles loading of the resulting raw object of the previous pipeline step. This can be achieved by implementing a unidirectional linked list: Each instantiation of Base in the form of a processing step must define the previous processing step. After processing, the Base class takes care of saving the raw object in the form of a fif-file. These fif-files are the only coupling between steps in the processing pipeline. Storing these after each step ensures full transparency and reproducibility of the results.

Most importantly, the base class implements a run() method that generically works for all processing steps:

self.load()

self.process()

self.save()

self.report()

Generally, the methods load(), save() and report() are implemented. When implementing a new processing step, only the process() method needs to be overridden. It defines the step-specific logic.

A major advantage of the Base class is that it can be run standalone. Hence, one does not need to run the full pipeline each step. Instead, during development one can run just one specific step directly from the terminal. Automatically the intermediate results from the previous pipeline step are loaded and made available.

### Processing steps per subject

Files: _0x_*.py

### Processing steps across subjects

Files: _1x_*.py

## Utils

Files: utils.py, ccs_eeg_semesterproject.py, ccs_eeg_utils.py

The utils package is a toolbox of different functions. The idea is to have a wrapper that encapsulates and abstracts functions provided in:

ccs_eeg_semesterproject

ccs_eeg_utils

# Data

print(raw.info)

bads: []

ch_names: FP1, F3, F7, FC3, C3, C5, P3, P7, P9, PO7, PO3, O1, Oz, Pz, CPz, ...

chs: 33 EEG

custom_ref_applied: False

highpass: 0.0 Hz

line_freq: 60

lowpass: 512.0 Hz

meas_date: unspecified

nchan: 33

projs: []

sfreq: 1024.0 Hz

raw.to_data_frame().shape

(33, 683008)

## Event Coding

The event coding of the N170 project is as follows [14]:

| Event | Code |
| --- | --- |
| Faces | 1-40 |
| Cars | 41-80 |
| Scrambled Faces | 101-140 |
| Scrambled Cars | 141-180 |
| Response Correct | 201 |
| Response Wrong | 202 |

## Folder structure

The repository “eeg_project” is hosted on GitHub and has the following folder structure:

eeg_project

├─── annotations 	 Manual cleaning information for 3 subjects

├─── doc		 Documentation, e.g., this report

├─── reports		 HTML reports generated by pipeline

├─── results		 Output of across-subject processing steps

├─── subjects		 Output of per-subject processing steps

├─── files		 Files described within this report

# Preprocessing Pipeline

The preprocessing pipeline cleans and prepares the data for the subsequent analysis. In this work, preprocessing is performed subject-wise. The steps are shown in figure 1:

Figure 1: Steps of preprocessing pipeline TODO Ref

The order matches what Luck proposes in his book “An Introduction to the Event-Related Potential Technique” [15].

As stated in the project requirements, cleaning shall be manually done for three subjects. In this work, subjects 1, 2 and 3 are manually cleaned. These subjects are specified in the config.yaml:

subjects_preprocess: ["001","002","003"]

At the respective locations in the code a case distinction is performed to either chose the manual cleaning information or load the pre-computed cleaning information:

if self.subject in self.config["subjects_preprocess"]:

The following subsections will explain the individual steps of the preprocessing pipeline. Please be aware that for each subject a report is

## Import Data

To import the N170 dataset, a function from the utils class is used:

utils.load_data(task, subject_id)

Under the hood, it reads the data using:

mne.read_raw_bids()

The followingRequired because the *channels.tsv file is not correctly loaded due to problem with naming convention

raw.set_channel_types({'HEOG_left': 'eog', 'HEOG_right': 'eog',  'VEOG_lower': 'eog'})

## Add events

The N170 dataset already is in BIDS structure. Hence, the events can just be loaded with the following mne function:

mne.events_from_annotations(raw)

As described in the section “Event Coding”, for each trial the subject had to respond. If the response is wrong, i.e., not matching the shown figure in the experiment, it cannot be guaranteed that the subject went through the desired thought process. Hence, data from trials with wrong response is excluded.

Before removing trials with wrong response:

After removing trials with wrong response:

## Add Channel Locations

The N170 dataset consists of 33 channels, that are located according to the so-called “1020” standard montage on the sculp. This is visualized in figure 1.

Figure 2: Visualization of 1020 standard montage [1]

To set the channel locations, the following mne function is used:

raw.set_montage('standard_1020')

Furthermore, the following three electrodes are available to measure the electrooculogram (EOG), which measures eye movement.

raw.set_channel_types({'HEOG_left': 'eog', 'HEOG_right': 'eog',  'VEOG_lower': 'eog'})

## Filter

Files: _00_filter.py

Filtering is applied to remove noise in low and high frequency bands. Activity in low frequency bands includes undesired systematic drifts of potential, and activity in high frequency bands can include noise, for example introduced by power line frequency [9].

### High-pass Filtering

Literature states that using fcutoff>0.1 Hz can introduce a systematic bias [10, 11]. This might affect interpretation of neural activity especially in event-related potential (ERP) analysis, as done in this work. A lower bandpass edge of 0.45 Hz is chosen resulting in a -6dB cutoff frequency of 0.23 Hz. This turned out to be the best trade-off between loosing information for ERP analysis and removing undesired potential drifts based on empirical inspection of the filtered result.

### Low-pass Filtering

An upper bandpass edge of 50 Hz is chosen resulting in a -6dB cutoff frequency of 56.25 Hz. This way, the line noise of 60 Hz and other artefacts in higher frequency bands are effectively removed with minimizing the loss of actual signal.

Additionally, [9] gives a recommendation to low-pass filter the raw data at 13 of the desired sample rate in order to avoid reduction in temporal precision during resampling. As clarified in the subsequent section “Resample”, no resampling is done and hence no additional action was performed.

VanRullen stated that low-pass filtering using non-causal filters might shift activity to earlier or later times compared to when it truly happened [12]. Though later publications could delimit this finding, it is being kept in mind during this project.

### Implementation

As a filter type, a finite impulse response (FIR) filter is chosen. This choice is guided by Widmann et al. [10], where they propose using FIR filters over IIR filters for most purposes in electrophysiological data analysis. The actual filter follows a windowed FIR design and sticks to the default in EEG analysis [8]. A bandpass filter is used to simultaneously filter low-pass and high-pass. In this work, the list of filter parameters is provided as proposed in [10]:

FIR filter: one-pass, zero-phase, non-causal bandpass filter:

- Windowed time-domain design (firwin) method

- Hamming window with 0.0194 passband ripple and 53 dB stopband attenuation

- Lower passband edge: 0.45 Hz

- Lower transition bandwidth: 0.45 Hz (-6 dB cutoff frequency: 0.23 Hz)

- Upper passband edge: 50.00 Hz

- Upper transition bandwidth: 12.50 Hz (-6 dB cutoff frequency: 56.25 Hz)

- Filter length: 7511 samples (7.335 sec)

[TODO Add figure of pre post filter]

## Resample

Resampling is optional to reduce the density of measurements in time (i.e., sampling frequency) and therefore increase the processing time. Resampling is not performed here because sufficient compute is available.

## Clean Continuous Data

The raw data might be affected by bad channels or bad time segments. Hence, cleaning is performed as described in the following sections.

### Bad channels

Files: _01_clean_channels.py

Bad channels usually occur if an electrode is not correctly physically attached to the subject, resulting in no, noisy or drifting signal. An example of a noisy electrode is given in figure 2:

Figure 3: Example of a noisy electrode F8 TODO source

Bad channels can be spotted due to the fact that geometrically adjacent electrodes are strongly correlated and hence have a high inter-channel covariance. In contrast, good channels roughly follow the curve of their neighboring channels. In this work the channels of subject 1, 2 and 3 have been qualitatively evaluated based on the raw data as proposed by the MNE tutorial:

“Recommended ways to identify bad channels are: […] View raw data with mne.io.Raw.plot() without SSP/ICA enabled and identify bad channels.” [2]

No strong deviations between the channels have been found for the subjects 1, 2 and 3. This confirms the general impression that the N170 dataset is of high quality.

For all other subjects, the pipeline extracts pre-computed bad channel data. [3] proposes to remove bad channels completely. This is done by adapting the ‘bads’ field of the info object:

raw.info['bads'].extend(bad_channels)

The MNE framework by default applies the following to exclude channels marked this way:

exclude='bads'

Finally, bad channels are interpolated as described in [3] with the following method:

raw.interpolate_bads()

### Bad segments

Files: _02_clean_segments.py

Unfortunately, the proposed way using CSV export did not work with MNE in version 0.22.0. Exporting

The MNE plot tool allows to interactively mark bad segments. They are stored in raw.annotations

self.raw.annotations[bad_ix].save(path_annotations)

### Bad subjects

Files: config.yaml

Filtering bad subjects is usually not part of the regular preprocessing and cleaning pipeline. However, during this project, extensive sanity-checks have been performed after each step for each subject. Already in early preprocessing steps, indications have been recognized regarding the low quality of subject 001. A clear picture was given when looking at the ERP plot of the difference signal between the conditions “faces” and “cars”, carried out in chapter “ERP Peak Analysis”. This plot is shown in figure 4 on the left. As a comparison, the same visualization is shown on the right for subject 002. It is a lot less noisy and generally representative for the quality that can be expected from a subject of good quality.

Figure 4: ERP plot of difference between conditions "faces" and "cars". Subject 001 is plotted on the left and subject 002 is plotted on the right. It is clearly visible how noisy the signal of subject 001 overall looks, especially in comparison.

Another bad subject has been identified when sanity-checking intermediate results at a later stage. During time-frequency analysis one activation didn’t match the expected outcome. Subject 029 was identified to cause this activity. A more detailed look into the preprocessing figures revealed an incorrect epoch. As shown in figure 5, subject 029 has extremely high activation in epoch 48. This anomaly yields electric potential with more than 300 µV, which is roughly factor 10 of usual maximum activity. The result was a strong bias even visible in the evoked component. At t=0s, the evoked potential is more than 5 µV and hence much larger than expected. This is very well visible in figure 6.

As a remedy, multiple options were possible: O the one side, the false epoch could be marked, removed and interpolated. However, this subject was not within the three subjects, that are cleaned manually in this work. Much more important is that the root cause for this wrong epoch is not clear. Hence, other epochs might be affected as well. The more conservative and safe way was to remove this subject from the list of processed subjects. This is what has been finally done in this work.

During sanity-checking, few other subjects have been found that have a signal which does not fully match the expected behavior. In contrast to subjects 001 and 029, they do not vary as extremely from a qualitative point of view. Also, some variation is in the nature of electrophysiological data and it is really important to not simply remove all subjects, which do not match the expectations. This type of cherry-picking data is an anti-pattern of data processing and it is a general rule of statistics to only remove data if there are strong arguments in place to do so.

Figure 5: Activity across epochs for subject 029 considering face stimulus. It can be clearly seen that epoch 48 carries an extreme outlier signal, reaching 300 µV.

Figure 6: A strong drift is detected for Subject 029.

In the previous paragraph two subjects have been identified that shall be excluded from the analysis. For this case, the pipeline offers a dedicated entry in the config.yaml file:

# Subjects considered in analysis

subjects: ["002","003",[…], 039","040"]

Excluding specific subjects is straight-forward with the given pipeline. One just needs to remove the corresponding subject IDs from the list in the configuration file. At the next run of the pipeline, only the remaining subjects are considered in the analysis.

### Baseline correction

Files: _02_clean_segments.py

Baseline correction is essential to remove

## Remove Artifactual Components using ICA

Files: _03_ica.py

The Independent Component Analysis (ICA) is performed to decompose a mixed signal into its independent subcomponents. This way, undesired artefactual EEG components like muscle noise can be excluded from the signal.

- Perform ICA on epochs to see, whether component is undesired or occurring in each epoch

- ICA components are sorted by relevance to the signal, hence focus on the initial few components

### Pre-ICA Filtering

The MNE tutorial gives the following recommendation [5]: “ICA is sensitive to low-frequency drifts and therefore requires the data to be high-pass filtered prior to fitting. Typically, a cutoff frequency of 1 Hz is recommended.” For this reason, a separate filter is applied to a copy of the raw object before extracting the independent components. A high-pass filter is applied with a lower transition bandwidth of 2.0 Hz resulting in the proposed -6dB cutoff frequency of 1.0Hz. For the same reasoning as in the chapter “Filter”, a windowed finite impulse response filter is used and the list of filter parameters is provided as proposed in [10]:

FIR filter parameters: one-pass, zero-phase, non-causal highpass filter:

- Windowed time-domain design (firwin) method

- Hamming window with 0.0194 passband ripple and 53 dB stopband attenuation

- Lower passband edge: 2.00 Hz

- Lower transition bandwidth: 2.00 Hz (-6 dB cutoff frequency: 1.00 Hz)

- Filter length: 1691 samples (1.651 sec)

### Manual evaluation of components

### Apply ICA to exclude artifacts

ica.apply(self.raw, exclude=bad_comps)

For the subjects 1, 2 and 3 the bad components are identified manually. For all other subjects the pre-computed bad components are used. It has to be considered that the pre-computed ICA components are identified based on a differently preprocessed signal. However, the operations done in preprocessing (e.g., filtering), are invariant with regards to ordering of the ICA components as stated in [6]. Hence, it is assumed to be safe to exclude bad components that have been enumerated from an ICA based on differently preprocessed data.

## Interpolate channels

Files: _01_clean_channels.py

## Rereference

Files: _04_reference.py

# Analysis

## ERP Peak Analysis

Files: _05_erp_peak_extraction.py, _10_erp_peak_analysis.py

Extract the study-relevant ERP peak subjectwise (e.g. one value per subject) and statistically test them.

RQ: On which ERP-peaks do we find major difference between the conditions?

Channels, times, peaks for N170: --> Rossion 2008, ERP Core Paper

P7, PO7, P8, PO8; 130-200ms after stimulus onset

Before removing trials with wrong response:

After removing trials with wrong response:

### Significance testing

## Decoding Analysis

Files: _06_decoding_peak_extraction.py, _11_decoding_peak_analysis.py

In the decoding analysis the goal is to decode the main contrast of the experiment across time. The following research question shall be discussed: When is information about the conditions in the data available?

### Decoding across time

### Pipeline and cross-fold validation

To automate the training and testing procedure, an sklearn pipeline is used. The pipeline has two steps, a feature extractor and a classifier. Multiple combinations of feature extractors and classifiers are evaluated in following subsections.

One key thing to avoid when learning from data is overfitting, which means tuning the parameters to only perfectly score on the training data. Instead, one aims to train a model that generalizes and hence works well on unseen data [13]. In this work, a technique called k-fold cross validation is used:

sklearn.model_selection.StratifiedShuffleSplit()

The data is randomly shuffled and split 10 times. Each time, 20% of the data is held out as test data. The classifier is applied to the training data and scored on the test data. This way, the score reflects the generalization capability of the trained model. Finally, the score is averaged across each of the 10 folds, resulting in an overall test score.

mne.decoding.cross_val_multiscore().mean(axis=0)

### Analysis of feature extractor

### Analysis of classifiers

### Significance testing

### Effect size

## Time-Frequency Analysis

### Tradeoff between spatial and temporal resolution

Resolution in space and time are in diametrically opposed relation. An increase of resolution in space always comes with a decrease of resolution in time. Hence, selecting proper values come down to a tradeoff.

Sanity-checking of intermediate results is a key action to ensure high data quality and absence of bugs. Sanity checking has been performed all over the project. During sanity-checking the time-frequency transformation for individual subjects, the importance of those sanity-checks once again became clear. In the N170 dataset the difference wave has a significant effect starting at around 150-200ms, as shown in the chapter “ERP Peak Analysis”. Hence, the differences of frequency power spectra are expected to show a high power around this time. This was the case for most of the subjects. Few subjects however indicated anomalies. The left part of figure 4 shows subject 002 with the inverse of what was expected, a very low relative power around 200ms. During sanity-checking, this anomaly caught attention and was investigated in detail. Checking the difference plot in temporal domain (see figure 5) made clear that the measured potential at electrode PO8 for subject 002 at the N170 peak is very close for the conditions “faces” and “cars”. In previous processing steps, this was not an issue since calculating the difference in temporal domain has very high temporal precision. In this step, however, the signal was transformed to frequency domain first and the subtraction was performed there. Due to the tradeoff between time and frequency, initially a low time resolution was chosen. As a result, the result of subtraction with low temporal resolution brought cancellation of the signal, resulting in very low power around 200ms. The hypothesis could be confirmed after increasing the temporal resolution. The right side of figure 4 show the result, which clearly shows two points in time (~170ms, ~200ms), that have high relative power. The reason is that at those two points in time the signal in temporal domain changes its slope, which corresponds to activity in the frequency domain. While for most of the time the behavior of the curves match, they traverse their extreme points at slightly different points in time. Exactly then the difference of power spectra captures a high relative power signal. This, however, can only be made visible with sufficient temporal resolution. As an outcome of this sanity-check, parameters were adapted to increase the temporal resolution at the cost of reduced frequency resolution.

Figure 7: Frequency power spectrum for subject 002. Plotted is the difference between faces and cars of the evoked component. Different cycle numbers have been used for the Morlet wavelet generation to change the resolution in time: cycles = f/1.5 (left) and cycles = f/8 (right).

Figure 8: Difference plot between faces and cars conditions for subject 002. The graphs are very closely overlapping. Marked are two extreme points around N170 that result in different frequencies at ~170ms and ~200ms.

### Approach

An important part of the procedure is to sanity-check intermediate results in order to ensure correct processing. As all across the project, sanity-checking was heavily applied in this analysis part as well. Most observations have matched the expected outcome. The expected outcome is an intuitive result of a good domain-understanding and helps a lot to check plausibility of the results. When calculating the last processing step, the difference of power spectrum is averaged over all subjects. At this point, a plot is expected that consists of two relatively high clusters in the performance spectrum. One around the N170 peak, which is the evoked part, and one at a later point (600ms-900ms) corresponding to the induced part. Both parts were visible in the plot as expected, see figure 9 on the left. However, additionally another area was visible around t=0s. Checking for each subject individually revealed the problem: Subject 029 apparently is responsible for this cluster around t=0s, since activity around this time is only visible in this subject. A detailed analysis is carried out in section “Bad subjects”, where an outlier epoch has been identified. After removing subject 029 from the list of subjects to process, the power spectrum looks plausible again, as shown in figure 9 on the right. This observation once again emphasizes the importance of regular sanity-checks in the pipeline.

Figure 9: Average activity in power spectrum at t=0s. Left including subject 029, right without subject 029.

### Significance testing

# References

[1] Working with sensor locations — MNE 0.22.0 documentation. (n.d.). Retrieved March 28, 2021, from https://mne.tools/stable/auto_tutorials/intro/plot_40_sensor_locations.html

[2] Rejecting bad data (channels and segments) — MNE 0.15 documentation. (n.d.). Retrieved March 28, 2021, from https://mne.tools/0.15/auto_tutorials/plot_artifacts_correction_rejection.html

[3] Interpolating bad channels — MNE 0.22.0 documentation. (n.d.). Retrieved March 28, 2021, from https://mne.tools/stable/auto_tutorials/preprocessing/plot_15_handling_bad_channels.html

[4] Makeig, S., Bell, A. J., Jung, T. P., & Sejnowski, T. J. (1996). Independent component analysis of electroencephalographic data. Advances in neural information processing systems, 145-151.

[5] mne.preprocessing.ICA — MNE 0.22.0 documentation. (n.d.). Retrieved March 28, 2021, from https://mne.tools/stable/generated/mne.preprocessing.ICA.html

[6] Winkler, I., Debener, S., Muller, K. R., & Tangermann, M. (2015). On the influence of high-pass filtering on ICA-based artifact reduction in EEG-ERP. Proceedings of the Annual International Conference of the IEEE Engineering in Medicine and Biology Society, EMBS, 2015-November, 4101–4105. https://doi.org/10.1109/EMBC.2015.7319296

[7] Kappenman, E. S., Farrens, J. L., Zhang, W., Stewart, A. X., & Luck, S. J. (2021). ERP CORE: An open resource for human event-related potential research. NeuroImage, 225, 117465. https://doi.org/10.1016/j.neuroimage.2020.117465

[8] Background information on filtering — MNE 0.22.0 documentation. (n.d.). Retrieved March 29, 2021, from https://mne.tools/stable/auto_tutorials/discussions/plot_background_filtering.html#defaults-in-mne-python

[9] Filtering and resampling data — MNE 0.22.0 documentation. (n.d.). Retrieved March 29, 2021, from https://mne.tools/stable/auto_tutorials/preprocessing/plot_30_filtering_resampling.html#tut-filter-resample

[10] Widmann, A., Schröger, E., & Maess, B. (2015). Digital filter design for electrophysiological data - a practical approach. Journal of Neuroscience Methods, 250, 34–46. https://doi.org/10.1016/j.jneumeth.2014.08.002

[11] Acunzo, D. J., MacKenzie, G., & van Rossum, M. C. W. (2012). Systematic biases in early ERP and ERF components as a result of high-pass filtering. Journal of Neuroscience Methods, 209(1), 212–218. https://doi.org/10.1016/j.jneumeth.2012.06.011

[12] VanRullen, R. (2011). Four common conceptual fallacies in mapping the time course of recognition. In Frontiers in Psychology (Vol. 2, Issue DEC). Front Psychol. https://doi.org/10.3389/fpsyg.2011.00365

[13] Goodfellow, I., Bengio, Y., Courville, A., & Bengio, Y. (2016). Deep learning (Vol. 1, No. 2). Cambridge: MIT press.

[14] OSF | N170_Event_Code_Scheme.xlsx. (n.d.). Retrieved March 29, 2021, from https://osf.io/u8w69/

[15] Luck, S. J. (2014). An introduction to the event-related potential technique. MIT press.